## Form Responses 1
Timestamp | ISP | SITE / Location | Incident DATE | Incident TIME | Reporter | Incindent Type | Severity | Incident description | Initial Cause | Troubleshooting actions | Root Cause | Incident resolution date | Incident resolution time | Measures to prevent recurrence of incidents (if any)
2026-01-01T08:30:00 | VNPT | MS2 - Mega SOC - Cu Chi | 2026-01-01T00:00:00 | 08:00:00 | Reporter A | High latency | Minor | Latency increased. | International routing fluctuations. | Optimized routing. | International routing fluctuations. | 2026-01-01T00:00:00 | 08:20:00 | Continue monitoring.
2026-01-02T08:30:00 | VNPT | MS2 - Mega SOC - Cu Chi | 2026-01-02T00:00:00 | 08:00:00 | Reporter B | High latency | Minor | Latency increased again. |  | Optimized routing. |  | 2026-01-02T00:00:00 | 08:10:00
2026-01-03T09:00:00 | CMC | XAS - Warehouse - Xuyen A | 2026-01-03T00:00:00 | 08:00:00 | Reporter C | Fiber optic cable failure | Major | Cable damaged. | Cable fire. | Repaired cable. | Cable fire. | 2026-01-03T00:00:00 | 09:00:00 | Inspect cable route.
2026-01-04T09:00:00 | FPT | SWS - SOC - SW | not-a-date | 08:00:00 | Reporter D | Total outage | Critical | Invalid timestamp fixture. |  | Investigating.

## MS2 -VNPT
Timestamp | ISP | SITE / Location | Incident DATE | Incident TIME | Reporter | Incindent Type | Severity | Incident description | Initial Cause | Troubleshooting actions | Root Cause | Incident resolution date | Incident resolution time | Measures to prevent recurrence of incidents (if any)
2026-01-01T08:30:00 | VNPT | MS2 - Mega SOC - Cu Chi | 2026-01-01T00:00:00 | 08:00:00 | Reporter A | High latency | Minor | Latency increased. | International routing fluctuations. | Optimized routing. | International routing fluctuations. | 2026-01-01T00:00:00 | 08:20:00 | Continue monitoring.
2026-01-02T08:30:00 | VNPT | MS2 - Mega SOC - Cu Chi | 2026-01-02T00:00:00 | 08:00:00 | Reporter B | High latency | Minor | Latency increased again. |  | Optimized routing. |  | 2026-01-02T00:00:00 | 08:10:00